## BOQ
Bill of Quantities: Exterior lighting scheme for St. Helen's Parish Church
Item Number | Description | Quantity | Unit | Rate EUR (excluding VAT) | Total EUR (excluding VAT)
Supply and deliver to site ONLY the following luminaires and accessories as specified:
2.001 | Luminaire type A1 | 34 | No. |  | 0
2.002 | Luminaire type A2 | 41 | No. |  | 0
2.003 | Luminaire type B | 6 | No. |  | 0
2.004 | Luminaire type C | 1 | No. |  | 0
2.005 | Luminaire type D | 1 | No. |  | 0
2.006 | Luminaire type E | 16 | No. |  | 0
2.007 | Luminaire type F | 22 | No. |  | 0
2.008 | Luminaire type G | 8 | No. |  | 0
2.009 | Luminaire type H | 2 | No. |  | 0
2.01 | Luminaire type I | 1 | No. |  | 0
2.011 | Luminaire type J | 18 | No. |  | 0
2.012 | Luminaire type K | 8 | No. |  | 0
2.013 | Luminaire type L | 8 | No. |  | 0
2.014 | Luminaire type M | 8 | No. |  | 0
2.015 | Luminaire type N | 8 | No. |  | 0
2.016 | Luminaire type O | 8 | No. |  | 0
2.017 | Luminaire type P | 8 | No. |  | 0
2.018 | Luminaire type Q | 16 | No. |  | 0
2.019 | Luminaire type R | 5 | No. |  | 0
2.02 | Luminaire type S | 1 | No. |  | 0
2.021 | Luminaire type X | 1 | No. |  | 0
2.022 | Luminaire type Y | 15 | No. |  | 0
2.023 | Luminaire type Z | 2 | No. |  | 0
2.024 | Pole including suitable mounting bracket for 1 in number Luminaire Type Y | 4 | No. |  | 0
Supply and deliver to site,the following equipment and accessories, as specified:
2.025 | Bluetooth wireless switch | 1 | No. |  | 0
2.026 | Wireless lighting control module - BLE to DALI interface | 8 | No. |  | 0
2.027 | Wireless lighting control module - 0/1-10V to DALI interface | 18 | No. |  | 0
2.028 | Wireless Bluetooth interface internet gateway | 1 | No. |  | 0
2.029 | Range extension module | 2 | No. |  | 0
2.03 | DALI controllers, DALI master and any DALI/BLE/Lighting control interface required to render a complete functional system | Lump Sum | No. |  | 0
| Total carried forward to next page |  |  |  | 0
Item Number | Description | Quantity | Unit | Rate EUR (excluding VAT) | Total EUR (excluding VAT)
| Total brought forward from previous page |  |  |  | 0
Meetings on site for the coordination between the supplier and installer of the light fittings
2.028 | Attendance to preliminary meetings with the installer of the luminaires and provision of documentation and instructions on the wiring configuration and installation of all the luminaires and associated control gear | 1 | Lump Sum |  | 0
2.029 | Supervision of installation works to ensure full technical coordination between the supplier of the light fittings (LOT 1) and the installer (LOT 2) | 1 | Lump Sum |  | 0
Lighting Trials
2.031 | Allow for lighting trials, as specified | 1 | Lump Sum |  | 0
Setting up of luminaires and programming
2.032 | Allow for setting up of luminaires and programming as specified | 1 | Lump Sum |  | 0
Training
2.033 | Allow for training as specified | 1 | Lump Sum |  | 0
Handover Documentation
2.034 | Upon Completion, submit to the Employer an organised Operation & maintenance Manual as specified. | 1 | Lump Sum |  | 0
Total for the supply only of light fittings excluding VAT |  |  |  |  | 0
18% VAT |  |  |  |  | 0
Total for the supply only of light fittings including VAT |  |  |  |  | 0
For and on behalf of:
Address:
Signature of Tenderer: Name of Tenderer:
Occupation
VAT Registration number:
Tel and Fax No.: e-mail:
Date:
Declaration of Availability of after sales service and spare parts
With reference to the tender for the supply, delivery and commissioning of the light fittings and lighting control system, it is hereby being confirmed that the provision of an after-sales technical service and availability of spare parts shall be made available to the Employer for a period of at least five (5) years from the date of commissioning.
For and on behalf of:
Address:
Signature of Tenderer: Name of Tenderer:
Occupation
VAT Registration number:
Tel No.: e-mail:
Date:
Guarantee against corrosion and equipment guarantee.
With reference to the tender for the supply, delivery and commissioning of the light fittings and lighting control system, it is hereby being confirmed that the light fittings in our offer is guaranteed against corrosion for a mimimum period of five (5) years from the date of commissioning. I/We confirm that we have read the tender documentation and are fully aware of the environment in which the equipment in our offer shall be installed.
Moreover the lamp and control gear are covered by a gurantee against defects for a minimum period of five (5) years from the date of installation.
For and on behalf of:
Address:
Signature of Tenderer: Name of Tenderer:
Occupation
VAT Registration number:
Tel : e-mail:
Date: