## BOQ
Bill of Quantities: Exterior lighting scheme for St. Helen's Parish Church, Birkirkara
Item Number | Description | Quantity | Unit | Rate EUR (excluding VAT) | Total EUR (excluding VAT)
0 | Preliminaries - Exterior Lighting System
0.01 | Provision of all H&S in accordance with all Legal obligations, including laws, by-laws and legal notices in force for the entire duration of the contract. | 1 | Lump Sum | Included | Included
0.011 | Provision for the submittal of a Health & Safety Risk assessment report by a competent professional for the acceptance of the responsible Engineer. It shall be the Contractor's responsibility to adhere and comply with such report. | 1 | Lump Sum | Included | Included
0.012 | Provision for the Engagement of a Qualified Occupational Health and Safety Competent Person, appointed in accordance with the Occupational Health and Safety Authority Act, (Chap. 424 of the Laws of Malta).The Health and Safety Competent Person shall be responsible for the Health and Safety of the works in progress. | 1 | Lump Sum | Included | Included
0.013 | Provision for the issuing of PAT tests of all electrically operated tools and equipment on site, log-book including photos of all tools used. Every tool shall be certified every thirty days or following repairs, with certificates forwarded to the responsible Engineer. | 1 | Lump Sum | Included | Included
0.014 | Provision of erection and dismantling of scaffolding as may be required and as per health and safety regulations and as deemed necessary for the duration of the contract. Rate to include for certification by an engineer. | 1 | Lump Sum | Included | Included
0.015 | Provision for the temporary electrical supply including certification across all the site for the duration of the contract. | 1 | Lump Sum | Included | Included
0.016 | Provision for the temporary water supply across all the site for the duration of the contract. | 1 | Lump Sum | Included | Included
0.017 | Provision for the general up-keep of site, including debris and waste generated from the activities related to the contract. | 1 | Lump Sum | Included | Included
0.018 | Provision of general site welfare facilities including portable toilets and their upkeeping, drinking water, first aid and any other requirements as specified by the OHSA. | 1 | Lump Sum | Included | Included
0.019 | Provision for the submittal of samples of all materials to be used in the course of the project to the responsible Engineer for approval prior to the commencement of such respective work. | 1 | Lump Sum | Included | Included
0.02 | Provision for fees related to any statutory permits required for the successful completion of the project as may be necessary for the Contractor's operation on site. | 1 | Lump Sum | Included | Included
0.021 | Provision for a cover all (CAR) insurance by the contractor in order to ensure that all the works and personnel working on site shall be adequately covered by insurance policy. | 1 | Lump Sum | Included | Included
0.022 | Provision for a Quality Controller and certification of the installations by an independent Engineer. | 1 | Lump Sum | Included | Included
0.023 | Provision for any temporary works which are not included in the bills of quantities. | 1 | Lump Sum | Included | Included
0.024 | Provision for any works at heights that require abseiling, use of hoisting machinery, use of lifting machinery and / or cranes, as may be required for the execution and completion of the works. | 1 | Lump Sum | Included | Included
0.025 | Provision for carrying out the installation of light fittings on the sides of the church during night time hours to minimise disruption to vehicular traffic | 1 | Lump Sum | Included | Included
0.026 | Provision for hoarding of works to allow for safe access of pedestrians around the areas affected by these works | 1 | Lump Sum | Included | Included
0.027 | Provision for traffic signage, insurance and permit fees required for the proper execution of the works. | 1 | Lump Sum | Included | Included
0.028 | Attendance to meetings with the supplier of the luminaires and to coordinate the wiring configuration and installation of all the luminaires and associated control gear according to the manufacturer's instructions | 1 | Lump Sum | Included | Included
| Total carried forward to next page |  |  |  | 0
Item Number | Description | Quantity | Unit | Rate EUR (excluding VAT) | Total EUR (excluding VAT)
| Total brought forward from previous page |  |  |  | 0
1 | Exterior Lighting System
Supply, deliver to site, install, connect, test and commission the following as specified.
1.001 | Distribution board DB 1 complete with MCBs, RCBOs, switchgear, timer, contactor, earth and neutral bars, transient over voltage protection module as per schedule and as specified | 1 | No. |  | 0
1.002 | Distribution board DB 2 complete with MCBs, RCBOs, switchgear, timer, contactor, earth and neutral bars, transient over voltage protection module as per schedule and as specified | 1 | No. |  | 0
1.003 | Distribution board DB 2.1 complete with MCBs, RCBOs, switchgear, timer, contactor, earth and neutral bars, transient over voltage protection module as per schedule and as specified | 1 | No. |  | 0
1.004 | Distribution board DB 2.2 complete with MCBs, RCBOs, switchgear, timer, contactor, earth and neutral bars, transient over voltage protection module as per schedule and as specified | 1 | No. |  | 0
1.005 | Distribution board DB 2.3 complete with MCBs, RCBOs, switchgear, timer, contactor, earth and neutral bars, transient over voltage protection module as per schedule and as specified | 1 | No. |  | 0
1.006 | Demarcation box complete with MCBs, RCBOs, switchgear, timer, contactor, earth and neutral bars, transient over voltage protection module as per schedule and as specified | 2 | No. |  | 0
1.007 | IP67 Junction box including cable glands, as specified | 28 | No. |  | 0
1.008 | Free standing, lockable, IP65 rated, heavy duty GRP enclsoure, including concrete base | 1 | No. |  | 0
Supply, deliver to site and connect the following cables as specified complete with lugs, cleats, glands, proprietary support stainless cable ties, cable tie plug anchor with eyelet and any other sundries required including termination at both ends
1.009 | 2c x 6.0sqmm XLPE/LSZH cable from street lighting to DB 1 | 40 | m |  | 0
1.01 | 5c x 6.0sqmm XLPE/PVC cable RAL 9001 from DB 1 to DB 2 | 30 | m |  | 0
1.011 | 5c x 4.0sqmm HO7RN-F cable from DB 2 to DB 2.1 | 60 | m |  | 0
1.012 | 5c x 6.0sqmm HO7RN-F cable from DB 2 to DB 2.2 | 70 | m |  | 0
1.013 | 5c x 4.0sqmm HO7RN-F cable from DB 2 to DB 2.3 | 40 | m |  | 0
1.014 | 2c x 4.0sqmm XLPE/LSZH cable from street lighting to DEM BOX 1 | 30 | m |  | 0
1.015 | 2c x 4.0sqmm XLPE/LSZH cable from street lighting to DEM BOX 2 | 30 | m |  | 0
1.016 | 3c x 2.5sqmm HO7RN-F cable from Dem Box 1 to luminaires on circuit D1.1 | 120 | m |  | 0
1.017 | 3c x 2.5sqmm HO7RN-F cable from Dem Box 2 to luminaires on circuit D2.1 | 80 | m |  | 0
1.018 | 5c x 2.5sqmm HO7RN-F cable from distribution board DB 1 to luminaires on circuit 1.1 | 130 | m |  | 0
1.019 | 5c x 2.5sqmm HO7RN-F cable from distribution board DB 1 to luminaires on circuit 1.2 | 100 | m |  | 0
1.02 | 5c x 2.5sqmm HO7RN-F cable from distribution board DB 1 to luminaires on circuit 1.3 | 200 | m |  | 0
1.021 | 5c x 2.5sqmm HO7RN-F cable from distribution board DB 1 to drivers for luminaires Type B | 90 | m |  | 0
1.022 | 2 core DC cables including termination of cable from drivers to luminaires Type B | 50 | m |  | 0
1.023 | 5c x 2.5sqmm HO7RN-F cable from distribution board DB 2 to luminaires on circuit 2.1 | 45 | m |  | 0
1.024 | 5c x 2.5sqmm HO7RN-F cable from distribution board DB 2 to luminaires on circuit 2.2 | 70 | m |  | 0
1.025 | 5c x 2.5sqmm XLPE/PVC cable RAL9001 from distribution board DB 2 to luminaires on circuit 2.3 | 170 | m |  | 0
1.026 | 5c x 2.5sqmm XLPE/PVC cable RAL9001 from distribution board DB 2 to luminaires on circuit 2.4 | 140 | m |  | 0
1.027 | 3c x 1.5sqmm HO7RN-F cable from distribution board DB 2 to BLE module on circuit 2.8 | 20 | m |  | 0
| Total carried forward to next page |  |  |  | 0
Item Number | Description | Quantity | Unit | Rate EUR (excluding VAT) | Total EUR (excluding VAT)
| Total brought forward from previous page |  |  |  | 0
Supply, deliver to site and connect the following cables as specified complete with lugs, cleats, glands, proprietary support stainless cable ties, cable tie plug anchor with eyelet and any other sundries required including termination at both ends
1.028 | 5c x 1.5sqmm HO7RN-F cable from distribution board DB 2.1 to luminaires on circuit 2.1.1 | 30 | m |  | 0
1.029 | 5c x 2.5sqmm HO7RN-F cable from distribution board DB 2.1 to luminaires on circuit 2.1.2 | 150 | m |  | 0
1.03 | 5c x 2.5sqmm XLPE/PVC cable RAL9001 from distribution board DB 2.1 to luminaires on circuit 2.1.3 | 120 | m |  | 0
1.031 | 5c x 2.5sqmm XLPE/PVC cable RAL9001 from distribution board DB 2.1 to luminaires on circuit 2.1.4 | 120 | m |  | 0
1.032 | 3c x 1.5sqmm HO7RN-F cable from distribution board DB 2.1 to BLE module on circuit 2.1.5 | 20 | m |  | 0
1.033 | 5c x 2.5sqmm XLPE/PVC cable RAL9001 cable from distribution board DB 2.2 to luminaires on circuit 2.2.1 | 90 | m |  | 0
1.034 | 5c x 2.5sqmm XLPE/PVC cable RAL9001 cable from distribution board DB 2.2 to luminaires on circuit 2.2.2 | 60 | m |  | 0
1.035 | 5c x 2.5sqmm XLPE/PVC cable RAL9001 cable from distribution board DB 2.2 to luminaires on circuit 2.2.3 | 60 | m |  | 0
1.036 | 5c x 1.5sqmm XLPE/PVC cable RAL9001 cable from distribution board DB 2.2 to driver HI.1 | 15 | m |  | 0
1.037 | 2 core DC cables including termination of cable from driver HI.1 to luminaires Type H and I | 45 | m |  | 0
1.038 | 5c x 1.5sqmm XLPE/PVC cable RAL9001 cable from distribution board DB 2.2 to driver J.1 | 15 | m |  | 0
1.039 | 2 core DC cables including termination of cable from driver J.1 to luminaires Type J | 40 | m |  | 0
1.04 | 5c x 1.5sqmm XLPE/PVC cable RAL9001 cable from distribution board DB 2.2 to driver S.1 | 15 | m |  | 0
1.041 | 2 core DC cables including termination of cable from driver J.1 to luminaire Type S | 20 | m |  | 0
1.042 | 5c x 1.5sqmm XLPE/PVC cable RAL9001 cable from distribution board DB 2.2 to driver K.1 | 15 | m |  | 0
1.043 | 2 core DC cables including termination of cable from driver K.1 to luminaires Type K | 90 | m |  | 0
1.044 | 5c x 1.5sqmm XLPE/PVC cable RAL9001 cable from distribution board DB 2.2 to driver J.2 | 15 | m |  | 0
1.045 | 2 core DC cables including termination of cable from driver J.2 to luminaires Type J | 140 | m |  | 0
1.046 | 5c x 1.5sqmm XLPE/PVC cable RAL9001 cable from distribution board DB 2.2 to driver K.2 | 15 | m |  | 0
1.047 | 2 core DC cables including termination of cable from driver K.2 to luminaires Type K | 90 | m |  | 0
1.048 | 5c x 1.5sqmm XLPE/PVC cable RAL9001 cable from distribution board DB 2.2 to driver J.3 | 15 | m |  | 0
1.049 | 2 core DC cables including termination of cable from driver J.3 to luminaires Type J | 140 | m |  | 0
1.05 | 5c x 1.5sqmm XLPE/PVC cable RAL9001 cable from distribution board DB 2.3 to driver O.1 | 40 | m |  | 0
1.051 | 2 core DC cables including termination of cable from driver O.1 to luminaires Type O | 65 | m |  | 0
1.052 | 5c x 1.5sqmm XLPE/PVC cable RAL9001 cable from distribution board DB 2.3 to driver Q.1 | 40 | m |  | 0
1.053 | 2 core DC cables including termination of cable from driver Q.1 to luminaires Type Q | 80 | m |  | 0
1.054 | 5c x 1.5sqmm XLPE/PVC cable RAL9001 cable from distribution board DB 2.3 to driver Q.2 | 30 | m |  | 0
1.055 | 2 core DC cables including termination of cable from driver Q.2 to luminaires Type Q | 100 | m |  | 0
| Total carried forward to next page |  |  |  | 0
Item Number | Description | Quantity | Unit | Rate EUR (excluding VAT) | Total EUR (excluding VAT)
| Total brought forward from previous page |  |  |  | 0
Supply, deliver to site and connect the following cables as specified complete with lugs, cleats, glands, proprietary support stainless cable ties, cable tie plug anchor with eyelet and any other sundries required including termination at both ends
1.056 | 5c x 1.5sqmm XLPE/PVC cable RAL9001 cable from distribution board DB 2.3 to luminiares on circuit 2.3.4 | 100 | m |  | 0
1.057 | 5c x 1.5sqmm XLPE/PVC cable RAL9001 cable from distribution board DB 2.3 to luminiares on circuit 2.3.5 | 100 | m |  | 0
1.058 | 5c x 1.5sqmm XLPE/PVC cable RAL9001 cable from distribution board DB 2.3 to luminiares on circuit 2.3.6 | 80 | m |  | 0
1.059 | 5c x 1.5sqmm XLPE/PVC cable RAL9001 cable from distribution board DB 2.3 to luminiares on circuit 2.3.7 | 80 | m |  | 0
1.06 | IP68 T-shaped cable connector | 250 | No. |  | 0
Earthing
1.061 | Boring of hole, provision and installation of 16mm diameter x 2.4m earth electrode complete with moulded pull box mounted flush with finished floor level. The price includes the desing and testing of the earth electrode and any connection or termination costs with cable armour. | 4 | No. |  | 0
2 | Installation only of accessories and light fittings according to manufacturer's instructions and connection of the following luminaires with integrated control gear and accessories as specified (sundries, stainless steel fixing bolts and any material required shall be included in the rate for installation):
2.001 | Luminaire type A1 | 34 | No. |  | 0
2.002 | Luminaire type A2 | 41 | No. |  | 0
2.003 | Luminaire type B | 6 | No. |  | 0
2.004 | Luminaire type C | 1 | No. |  | 0
2.005 | Luminaire type D | 1 | No. |  | 0
2.006 | Luminaire type E | 16 | No. |  | 0
2.007 | Luminaire type F | 22 | No. |  | 0
2.008 | Luminaire type G | 8 | No. |  | 0
2.009 | Luminaire type H | 2 | No. |  | 0
2.01 | Luminaire type I | 1 | No. |  | 0
2.011 | Luminaire type J | 18 | No. |  | 0
2.012 | Luminaire type K | 8 | No. |  | 0
2.013 | Luminaire type L | 8 | No. |  | 0
2.014 | Luminaire type M | 8 | No. |  | 0
2.015 | Luminaire type N | 8 | No. |  | 0
2.016 | Luminaire type O | 8 | No. |  | 0
2.017 | Luminaire type P | 8 | No. |  | 0
2.018 | Luminaire type Q | 16 | No. |  | 0
2.019 | Luminaire type R | 5 | No. |  | 0
2.02 | Luminaire type S | 1 | No. |  | 0
2.021 | Luminaire type X | 1 | No. |  | 0
2.022 | Luminaire type Y | 15 | No. |  | 0
2.023 | Luminaire type Z | 2 | No. |  | 0
2.024 | Pole including suitable mounting bracket for 1 in number Luminaire Type Y | 4 | No. |  | 0
Provisional items - (Installation of luminaire including external control gear):
2.001a | Luminaire type A1 | 34 | No. |  | 0
2.002a | Luminaire type A2 | 41 | No. |  | 0
2.003a | Luminaire type B | 6 | No. |  | 0
2.004a | Luminaire type C | 1 | No. |  | 0
2.005a | Luminaire type D | 1 | No. |  | 0
2.006a | Luminaire type E | 16 | No. |  | 0
2.007a | Luminaire type F | 22 | No. |  | 0
2.008a | Luminaire type G | 8 | No. |  | 0
2.009a | Luminaire type H | 2 | No. |  | 0
2.010a | Luminaire type I | 1 | No. |  | 0
2.011a | Luminaire type J | 18 | No. |  | 0
2.012a | Luminaire type K | 8 | No. |  | 0
2.013a | Luminaire type L | 8 | No. |  | 0
2.014a | Luminaire type M | 8 | No. |  | 0
2.015a | Luminaire type N | 8 | No. |  | 0
2.016a | Luminaire type O | 8 | No. |  | 0
2.017a | Luminaire type P | 8 | No. |  | 0
2.018a | Luminaire type Q | 16 | No. |  | 0
2.019a | Luminaire type R | 5 | No. |  | 0
2.020a | Luminaire type S | 1 | No. |  | 0
2.021a | Luminaire type X | 1 | No. |  | 0
2.022a | Luminaire type Y | 15 | No. |  | 0
2.023a | Luminaire type Z | 2 | No. |  | 0
ACCESSORIES
2.025 | Bluetooth wireless switch | 1 | No. |  | 0
2.026 | Wireless lighting control module - BLE to DALI interface | 8 | No. |  | 0
2.027 | Wireless lighting control module - 0/1-10V to DALI interface | 18 | No. |  | 0
2.028 | Wireless Bluetooth interface internet gateway | 1 | No. |  | 0
2.029 | Range extension module | 2 | No. |  | 0
2.03 | DALI controllers, DALI master and any DALI/BLE/Lighting control interface required to render a complete functional system | Lump Sum | No. |  | 0
| Total carried forward to next page |  |  |  | 0
Item Number | Description | Quantity | Unit | Rate EUR (excluding VAT) | Total EUR (excluding VAT)
| Total brought forward from previous page |  |  |  | 0
3 | Cable Management - Exterior Lighting System
Civil Works
3.001 | This item includes drilling of holes through walls, floors and ceilings, chasing if and when required, making good of and support of equipment, sealing and making good of all openings and penetrations made during erection of system. Contractor is expected to allow for a contingency sum for such works. It should be highlighted that works are being carried out on a historic Grade 1 building and thus no chasing within the masonry architectural elements will be allowed. Moreover all care shall be taken in order to conserve and preserve all the elements whilst fixing of all elements. Works will include all making good for any damages done to the architectural and historic fabric. | 1 | Lump Sum |  | 0
Supply, deliver to site and install the following cable management systems (to coordinate with civil works contractor):
3.002 | Provision, transporting and laying of 50mm diameter PE conduit in trench | 420 | m |  | 0
3.003 | 200mm x 200mm heavy duty PVC pull box complete with cast iron cover and complete with 25mm diameter, 1m deep vertical drain installed at the bottom of the pull box. Rate to include boring of hole to accommodate drain. | 45 | No. |  | 0
3.004 | 400mm x 400mm heavy duty PVC pull box complete with cast iron cover and complete with 25mm diameter, 1m deep vertical drain installed at the bottom of the pull box. Rate to include boring of hole to accommodate drain. | 6 | No. |  | 0
3.005 | Provision and Installation of metal protective pipe for wall-mounted Demarcation fuse & link boxes | 3 | No. |  | 0
3.006 | Galvanised steel cable tray 100x50mm complete with brackets and floor mountings | 200 | m |  | 0
| Total carried forward to next page |  |  |  | 0
Item Number | Description | Quantity | Unit | Rate EUR (excluding VAT) | Total EUR (excluding VAT)
| Total brought forward from previous page |  |  |  | 0
4 | General - Exterior Lighting System
Application for the provision of electrical supply services:
4.001 | Submit the required Enemalta application forms for the connection of street lighting luminaires. Any Enemalta/ARMS application fees are to be paid by client. | 6 | Lump Sum |  | 0
Maintenance
4.002 | Maintenance every 6 months of the lighting and electrical LV system for a period of 5 years | 10 | No. |  | 0
Lighting Trials
4.003 | Allow for lighting trials, as specified | 1 | Lump Sum |  | 0
Setting up of luminaires
4.003 | Allow for setting up and adjusting the orientation of the luminaires | 1 | Lump Sum |  | 0
Training
4.004 | Allow for training as specified | 1 | Lump Sum |  | 0
Handover Documentation
4.005 | Upon Completion, submit to the Employer an organised Operation & maintenance Manual as specified. | 1 | Lump Sum |  | 0
Labeling/ applications/ testing and commissioning
Labeling
4.006 | Supply and install labels and charts for whole installation as specified | 1 | Lump Sum |  | 0
Testing and certification:
4.007 | Test and certify the electrical installation as per IET and Enemalta regulations | 1 | Lump Sum |  | 0
4.008 | Supply As Fitted drawings in the form of three sets of prints and one soft copy. | 1 | Lump Sum |  | 0
| Total carried forward to next page |  |  |  | 0
Item Number | Description | QTY | Unit | Rate € (Excluding VAT) | Total € (Excluding VAT)
| Total brought forward from previous page |  |  |  | 0
5 | Civil Works
Preambles - GENERAL
The contractor shall visit the site to see what the work entails.
All resulting material shall be carted away and dumped in an approved dumping site unless it is not ordered otherwise by the Architect in charge of the project. All rates to include dumping charges.
All excavation shall be measured net and the rate is inclusive of caving-in.
Before commencing any works, the contactor shall liaise with all service provider, and mark all existing infrastructure on site, and ensure that such are not damaged during the works
Contractor is to ensure a neat saw cut with existing surrounding finishes and making good of such - such works are deemed to be included in rates
All works are to be carried out with all other contractors/sub-contractors working on the project
Excavation and demolition works
5.001 | Carefully take up, existing (dark) paving, around the perimeter of the church, as per approved method statement, taking care not the damage the elements themselves and the surround historic paving, and place on pallets for safe storage and eventual re-instatement | 160 | m |  | 0
5.002 | Excavate 300mm wide and not exceeding 500mm deep trench, taking care not to damage surrounding existing historic paving, in any type of ground/material, as per approved method statement. Rate shall include carting away and dumping of resultant material into an approved dumping site. | 21.4 | m3 |  | 0
Concrete Works
5.003 | Supply, lay and compact plain concrete grade C20 in bed and square surround to pipes. (Provisional Qty.) | 14.4 | m3 |  | 0
5.004 | Supply, lay and compact lean mix concrete grade C7.5, or equivalent, to backfill trench to required levels - level/preparation to take paving (Prov Qty) | 14.4 | m3 |  | 0
Concrete Manholes
5.005 | Design, Supply and lay precast concrete manholes (no bottom), for in-ground light fittings, not exceeding 500 x 600mm, consisting of concrete grade C25 walls, including the formation of required penetration holes, | 40 | No. |  | 0
Works around recessed light fittings
The works below need to include all required coordination to install related lighting and detailing with the finishes
5.006 | The supply and lay of Geo-textile | 29.6 | m2 |  | 0
5.007 | Supply and lay 300mm layer of tal-'Qawwi' 25mm gravel - washed and cleaned | 2.4 | m3 |  | 0
| Total carried forward to next page |  |  |  | 0
Item Number | Description | QTY | Unit | Rate € (Excluding VAT) | Total € (Excluding VAT)
| Total brought forward from previous page |  |  |  | 0
Paving and Other related Works
Rate are inclusive of all the costs of material, equipment, manpower etc. and any other cost that is needed. The Contracting Authority shall bear no other cost apart from that of the rate submitted.
Sizes and quantities stated in bill of quantities are only indicative and the contractor is responsible for taking physical measurements of all the work, survey of site and confirm them with the Architect in charge at design stage and before ordering the material.
Paving works shall be measured NET
Rates are to include making good of surrounding historic paving elements
Paving Works
5.008 | Preparation of sample for replica (design and build) 'dark' paving elements | 1 | No. |  | 0
5.009 | Preparation of sample for replica (design and build) 'light' paving elements | 1 | No. |  | 0
5.01 | The relaying of previously removed/dismantled paving elements, bedded on a 50mm thick (max) of 1: 2 dry cement/hard stone sand, or as approved, and pointed/grouted to match existing | 160 | m |  | 0
5.011 | The supply and lay of replica elements, as per approved sample, ready to integrate light fitting, bedded on a 50mm thick (max) of 1: 2 dry cement/hard stone sand, or as approved, and pointed/grouted to match existing | 40 | m |  | 0
| Total carried forward to Summary Page |  |  |  | 0
SUMMARY PAGE
Item | Description | QTY | Unit | Rate € (Excluding VAT) | Total € (Excluding VAT)
Total for all works excluding VAT |  |  |  |  | 0
18% VAT |  |  |  |  | 0
Total for all works including VAT |  |  |  |  | 0
For and on behalf of:
Address:
Signature of Tenderer: Name of Tenderer:
Occupation:
VAT Registration number:
Tel and Fax No.: e-mail:
Date:
DAILY RATES
Rates quoted are to include total cost of labour inclusive of VAT and any other charges as applicable.
Item | Daily Rate for the service of: | Rate in EUR
1 | Unskilled labourer
2 | Skilled labourer
3 | Supervisor
4 | Technician/ Electrician
5 | Engineer
6 | Other category - Project Manager